A. Gädke, C. Schmitt, H. Stork, N. Nestle
Institute of Condensed Matter Physics, TU Darmstadt
A flexible hardware and software platform
for low-cost (mobile) NMR systems
Why do we want to share
our programs with you?
DAMARIS Project
Why do we build spectrometer
control platforms ourselves?
Darmstadt Magnetic Resonance Instrument Software:
Project is focused on spectrometer control
Offers alternative to expensive spectrometer controls
Open Source Project
Benefits of “open source” software:
No license fees
Can be extended and customized in detail
Transparency of data processing
Lively community sharing modules and bug fixes
Renew outdated spectrometer equipment
Standardize software for different machines
Easy to include new hardware
Use standard PC with PCI components.
Detailed understanding of hardware operation
Project State:
Under development for about a year
Presently supported Hardware Components:
SpinCore PulseBlaster pulse generators
Datel and Spectrum data acquisition cards
Eurotherm temperature control
Intermediate development version already in use with
LabView frontend
More flexible frontend under development
Frontend-Backend design:
Frontend: User Interface with graphics and high level control and evaluation features, hides hardware details and is easy to use.
Backend: Deals with vendor drivers of each component, initializes cards, runs experiments defined in the frontend, handles all hardware details and provides the data to the frontend.
Requirements to be attractive:
Useful for many people
Clear interfaces and modularized software design
Development based on tools and free software components that are widely available
Interoperable with other/ commercial tools
rich selection of supported hardware
  We need YOUR help to extend and complete our project. If you are interested look out for us!
www.fkp.physik.tu-darmstadt.de/damaris
DAMARIS Software design
DAMARIS LabView Frontend
DAMARIS Python/GTK Frontend
Front End:
pulse program editing, experiment monitoring
preliminary evaluation to estimate quality of measurement
adjusting parameters (dead times, /2-pulse length, ...)
run sequences of experiments, data and parameter storage
Operating System
job.00000000
job.00000001
...
script driven experiment control
powerful accumulation and data processing features of numeric array processing packages
based on versatile scripting language Python
monitoring and data evaluation during running experiment
free from license fees
But: Still in development
arbitrary number of variables
integrated pulse program editor
online monitoring of single shots or preprocessed data, either in time domain or FFT
automatic documentation of all settings
Option to save primary and preprocessed data
Vendor provided drivers ( DLLs,
System Calls, ...)
job.00000000.result
job.00000001.result
...
RF-Coil
Experimental Unit
B1
x
z
Backend:
configures Hardware
sequentially executes
pulse programs
records data
B0
Processing Unit
PTS Interface Driver
y
SpinCore-PulseBlaster24Bit
Spectrum-MI4021
Permanent magnet assembly
Probe
Object Orientation  Reusability of Code:
The backend is programmed in C++ (GNU C) to gain necessary performance and to call lowlevel DLLs from hardware drivers.
Frequently used types of device are implemented through general interfaces. The device specific code is organized as a derived class. We already successfully implemented some:
Receiver
Prototype of a light-weighted single-sided NMR sensor with a reduced field gradient
A reduced field gradient allows to extend the scope of surface NMR to samples with strong diffusivity like water in mineral binder materials during early hydration stages, plant tissues such as fruits and vegetables, or even beverages in unopened bottles.
PC with
Pulse Generator
 & ADC
Frequency
generator
Amplifier
So the drivers' implementation could be recycled for other spectrometers easily. The modularization is also capable of incorporating control tasks specific to a single machine, like interruption of heating current during data acquisition.
Analog Digital Converter
(ADC)
Spectrum MI 4021
Datel-416 N
TiePie Handyscope 3
Pulse Generator
SpinCore PulseBlaster 24 Bit
SpinCore PulseBlaster DDSIII
Frequency Generator
SpinCore PulseBlaster DDSIII
1cm
filesystem (spool directory)